## Slide 1: Toward Analyzing EMG Across Days
2022/08/19
Hiroo Miyata
Before start, I labeled Trap as Tric and Tric as Trap!! Please convert it in your head …!!!

## Slide 2: 2 problems to analyze by preprocessed EMG across days
Abnormal signal is included occasionally
Mean and Variance change across days
Plot method
calculate mean EMG around Go Cue each trial(remove data which couldn’t reach to target)
Red dotted lines are mean EMG at rest period(= base noise level)

## Slide 3: How to solve the change of mean and variance

## Slide 4: Visualization of mean and standard deviation each day

## Slide 5: Normalize by
1. Standard deviations are almost the same across days
2. Abnormal day’s Standard deviation become higher

## Slide 6: How to deal with unexpected EMG signals

## Slide 7: There are a variety of unexpected EMG signals

## Slide 8: There are a variety of unexpected EMG signals
2, sudden baseline drift
1.Abnormal wave form
3. sudden very high/low value

## Slide 9: 1. Abnormal wave form: mean EMG changed during a day
All mean EMG trajectory around Go Cue had the kinematics characteristic: increase after 200ms
This isn’t caused by noise
Mean Trap signals from -200 to +600 ms (mean by trial)
miliseconds
Trials
Mean Trap signals each trial (mean by time-bin 800ms)
1
1
2
3
3
2
Notes: 1,2,3が分かりづらい。なんで選んだの？

## Slide 10: The change isn’t from target directions
Direction | 1~30 | 201~231 | mean<100
0 | 4 | 3 | 19
45 | 3 | 4 | 16
90 | 4 | 3 | 17
135 | 4 | 3 | 18
180 | 4 | 5 | 18
225 | 4 | 4 | 16
270 | 4 | 3 | 14
315 | 3 | 5 | 14
1~30
201~231
Trials mean < 100 in 200~750 trials
From 200 to 800 trials, mean is continuously changing
Notes: 意味がわからない

## Slide 11: 2. sudden baseline drift: detachment of EMG sensor
Before baseline drift
After baseline drift

## Slide 12: 3. sudden very high/low value: unknown error EMG couldn’t measure only this period
Around the peak, mean EMG trajectory around Go Cue is weird.
But after several trial, mean EMG back normal

## Slide 13: This peak isn’t from target directions
 | 180~220 | 300~750
0 | 5 | 53
45 | 5 | 43
90 | 6 | 56
135 | 6 | 63
180 | 5 | 62
225 | 5 | 61
270 | 4 | 56
315 | 5 | 57

## Slide 14: Summary: how to deal with unexpected EMG signals
Conclusion: 1. there are a variety of error
Future direction:
Detect abnormal signal
  Hypothesis: checking relationship between mean and standard deviation?
Remove the entire trial of the day

## Slide 15: APPENDIX

## Slide 16: Change of skin-electrode impedance might cause the change of mean and variance
Basically distribution of is the same across days
But and would change day by day.
If , then we can normalize it by defining as below

## Slide 17: Actually,
This line is not regression
Just my estimation!
Day1
This line is not regression
Just my estimation!
Notes: 右図がおかしい
分かりにくい

## Slide 18: Summary: how to solve the change of mean and variance
Normalize by

## Slide 21: 複数の日に渡る計測信号をそのまま解析することはできない
EMGを正しく計測できていない時がある
平均、分散が変わってしまう
Notes: どういう解析なの？どうやって各ポイントを算出してるの？
赤い線は何を意味しているん？
左下の赤丸はなんで？

## Slide 22: 日毎に平均、分散が変わる 問題の解決策についての考察

## Slide 23: 日毎に平均と分散が変わる

## Slide 24: 平均、分散が変化するのは電極のインピーダンスの変化による作動増幅回路の出力分布の変化だと思う
皮膚
電極
どうやって標準化するか？以下を仮定する。
と標準化することで、

## Slide 25: 大体はβ=1で近似できるので、β=1で標準化できるのではないか
Not regression
Just estimation
Not regression
Just estimation
Day1
Notes: 図がおかしい

## Slide 26: EMGが正しく計測されてない時があることの考察

## Slide 27: EMGが正しく計測されていない時の形は様々ある

## Slide 28: EMGが正しく計測されていない時の形は様々ある
2, 突然のbaselineの変化
1.普段と異なる波形
3. 突然発生する異常値

## Slide 29: 1日の中でα,βが変わっている可能性がある
Baseline driftが発生した可能性がある

## Slide 30: 振幅が小さいのは方向の影響ではない
Baseline driftのような大きな変化があると、このようなことが発生する
 | 1~30 | 201~231 | EMG<100
0 | 4 | 3 | 19
45 | 3 | 4 | 16
90 | 4 | 3 | 17
135 | 4 | 3 | 18
180 | 4 | 5 | 18
225 | 4 | 4 | 16
270 | 4 | 3 | 14
315 | 3 | 5 | 14

## Slide 31: 1日の中で信号が取れていな時もある
電極が外れたか？

## Slide 32: 1日の中で信号が取れていな時もある
電極が外れたか？

## Slide 33: 同じく方向が原因ではなく 電極が外れたかと思われる
 | 180~220 | 300~750
0 | 5 | 53
45 | 5 | 43
90 | 6 | 56
135 | 6 | 63
180 | 5 | 62
225 | 5 | 61
270 | 4 | 56
315 | 5 | 57

## Slide 34: 正しく計測されていないEMGを検出するには β≠1の点を探せばいいのではないか?